## PC32 East Bay Hardware Vendor
TRAVERSE CITY LIGHT & POWER
PC32 EAST BAY BLVD REBUILD
MATERIAL LIST -- HARDWARE ONLY
ITEM | ORDER | ITEM | UTILITY | UTILITY | UNIT | EXTENDED
NO. | QUANTITY | DESCRIPTION | ITEM # | CATALOG # | PRICE | PRICE
A-661 | 38 | Cutout, 100A, 15kV, 95/110kV BIL, 10 KAIC, Polymer, Type XS | MacLean | SC15HG110-C-D |  | 0
B-010 | 11 | Insulator, Pin, Polymer, 15kV, F-Neck, ANSI 55-4 | Hendrix | HPI-55-4 |  | 0
B-024 | 38 | Insulator, Spool, Polymer, 3" X 3 1/8", 5/8" Pin, 3,000#, ANSI 53-2 | Hendrix | HPI-53-2 |  | 0
B-041 | 25 | Guard, Guy Guard, 8' Yellow, PVC, Helical Pigtail Wrap | MacLean | J5518 |  | 0
B-051 | 33 | Insulator, Guy Strain, Porcelain, 1/2", 12,000#, ANSI 54-2 | MacLean | L-504 |  | 0
B-098 | 12 | Link, Insulated, Fiberglass, 12", Clevis-Thimble Eye, 16,000# | MacLean | GCTE12-12 |  | 0
B-126 | 25 | Insulator, Guy Strain, Fiberglass, Clevis-Clevis Roller, 54", 21,000# | MacLean | GCC21-54R |  | 0
B-160 | 13 | Standoff, Cutout, & Arrester, Fiberglass, Three Hole Cloverleaf | Chance | 1SBM18CLH |  | 0
B-165 | 1 | Bracket, 0° Extension, Three-Phase, 3-Holes per Phase, 48" x 13" | MacLean | G3MA014813DDB |  | 0
B-250 | 61 | Suspension, Polymer, 15kV, SML 15,000#, Clevis-Eye, Type PDI-15 | Ohio Brass | 401015-0215 |  | 0
B-702 | 25 | Arrester, Heavy-Duty Distribution Class, 8.4kV MCOV, Polymer, Crossarm Mount | MacLean | ZHP010-0C00100 |  | 0
B-711 | 3 | Arrester, Riser Pole Class, 8.4kV MCOV, Polymer | MacLean | ZRP010-0000100 |  | 0
B-853 | 21 | Guard, Bushing Animal Guard | Salisbury | 21116 |  | 0
C-004 | 38 | Bracket, Spool, 3" Spool, 5/8" Pin | MacLean | J1300 |  | 0
C-027 | 2 | Pin, Crossarm, Steel, 5/8" X 10 3/4", 1" Thread | MacLean | J203Z |  | 0
C-038 | 51 | Pole Eye Plate, 4-5", 21,000# | MacLean | UGA-66-4 |  | 0
C-050 | 50 | Clevis, Thimble, Dead-End, 20,000# | MacLean | CT-88 |  | 0
C-103 | 8 | Clamp, Dead-End Shoe, #8 HDCU - #1/0 HDCU, 8,000# | Anderson | 80500-2000 |  | 0
C-1038 | 8 | Crossarm, Composite, Dead End, 3-5/8" X 4-5/8" X 8', 10,000# | Pupi | DA2500-096E2-B72 |  | 0
C-228 | 132 | Grip, Guy Dead-End, 10M Alumoweld | Preformed | AWDE-4116 |  | 0
C-249 | 35 | Wedge Clamp, Service, #2 - #6 ACSR | Blackburn | W62-1 |  | 0
C-250 | 1 | Wedge Clamp, Service, #1/0 - #4 ACSR | Blackburn | W20-1 |  | 0
C-251 | 4 | Wedge Clamp, Service, #4/0 - #2/0 ACSR | Blackburn | W40-1 |  | 0
C-260 | 11 | Crossarm, Wood, 3-3/4" X 4-3/4" X 8', DF, Penta, REA Spec, WQC, Type 03 | Brooks |  |  | 0
C-279 | 10 | Brace, Wood Crossarm, 38" Span, 18" Drop | Alumaform | AF626 |  | 0
C-280 | 6 | Brace, Wood Crossarm, 60" Span, 18" Drop | Alumaform | RA6018 |  | 0
C-305 | 12 | Bolt, SS Hex, 1/2" X 1-1/2" |  |  |  | 0
C-306 | 24 | Washer, SS Flat, 1/2" |  |  |  | 0
C-307 | 12 | Washer, SS Belleville, 1/2" |  |  |  | 0
C-308 | 12 | Nut, SS Hex, 1/2" |  |  |  | 0
C-314 | 72 | Screw, Lag 1/2" X 4" | Chance | 508754 |  | 0
C-317_6 | 12 | Bolt, Machine, 1/2" X 6" w/Nut | Chance | 8706 |  | 0
C-318_12 | 77 | Bolt, Machine, 5/8" X 12" w/Nut | Chance | 8812 |  | 0
C-318_14 | 104 | Bolt, Machine, 5/8" X 14" w/Nut | Chance | 8814 |  | 0
C-318_16 | 6 | Bolt, Machine, 5/8" X 16" w/Nut | Chance | 8816 |  | 0
C-318_18 | 5 | Bolt, Machine, 5/8" X 18" w/Nut | Chance | 8818 |  | 0
C-318_20 | 4 | Bolt, Machine, 5/8" X 20" w/Nut | Chance | 8820 |  | 0
C-319_12 | 9 | Bolt, Machine, 3/4" X 12" w/Nut | Chance | 8912 |  | 0
C-319_14 | 98 | Bolt, Machine, 3/4" X 14" w/Nut | Chance | 8914 |  | 0
C-324_4.5 | 10 | Bolt, Carriage, 3/8" X 4.5" w/Nut | Chance | 863412 |  | 0
C-324_7 | 14 | Bolt, Carriage, 3/8" X 7" w/Nut | Chance | 8637 |  | 0
C-328_24 | 9 | Bolt, Double Arming, 5/8" X 24" w/Nuts | Chance | 8874 |  | 0
C-335_12 | 24 | Bolt, Oval Eye, 5/8" X 12" w/ Nut | Chance | 29962 |  | 0
C-352 | 10 | Nut, Locknut, 3/8" | Chance | 3510 |  | 0
C-353 | 12 | Nut, Locknut, 1/2" | Chance | 3511 |  | 0
C-354 | 255 | Nut, Locknut, 5/8" | Chance | 3512 |  | 0
C-355 | 107 | Nut, Locknut, 3/4" | Chance | 3513 |  | 0
C-364 | 40 | Nut, Eye, 5/8" | Chance | 6502 |  | 0
C-365 | 3 | Nut, Eye, 3/4" | Chance | 6503 |  | 0
C-377 | 12 | Washer, Round 1-3/8" Dia., 9/16" Hole | Hubbell | PS6803 |  | 0
C-382 | 152 | Washer, 2-1/4" X 2-1/4" X 3/16" Square, 11/16" Hole | Hubbell | 6813 |  | 0
C-385 | 104 | Washer, 3" X 3" X 1/4" Square Curved Washer, 11/16" Hole | Chance | 682312 |  | 0
C-390_C | 91 | Washer, Cast, 4" X 4" X 1/4" Square Curved Washer, 13/16" Hole | Chance | GCW41 |  | 0
C-435 | 1 | Bracket, 3 Phase Cluster Mount, 3-50kVA | Alumaform | 3MW-24-M |  | 0
C-440 | 3 | Bracket, Cable Positioner | Alumaform | CS-820 |  | 0
C-852 | 41 | Clamp, Straight Line Dead-End, Side Opening, #2 - #336.4 ACSR, 9,000# | MacLean | HDSO-70 |  | 0
D-001 | 2510 | Wire, #6 CU Solid, Bare, Soft Drawn | Southwire |  |  | 0
D-016 | 85 | Cable, #2 CU 7-Strand, Bare, Soft Drawn | Southwire |  |  | 0
D-018 | 20 | Cable, #2/0 CU 7-Strand, Bare, Soft Drawn | Southwire |  |  | 0
D-019 | 80 | Cable, #4/0 CU 7-Strand, Bare, Soft Drawn | Southwire |  |  | 0
D-052 | 695 | Wire, Covered Line, #6 CU, Solid | Southwire | 6CSPS S ### |  | 0
D-666 | 1980 | Cable, Guy Strand, 10M Alumoweld | Alumoweld |  |  | 0
E-001 | 34 | Ground Rod, 5/8" X 8' Copper Clad | Erico | 615883 |  | 0
E-050 | 34 | Clamp, Ground Rod, Bronze, 5/8" | Blackburn | JAB58H |  | 0
E-097 | 2015 | Staples, Zinc Plated, Diamond Point, Down Lead | Chance | 7511 |  | 0
E-132 | 2 | Duct Seal | Duxseal |  |  | 0
E-145_2 | 18 | Bracket, Conduit Standoff, 2" or 5" Max Diameter Conduit, w/ U-Bolt for 2" | Sherman & Reilly | CRB-U-975 2" U-Bolt |  | 0
F-024 | 34 | Connector, Compression, #2,4,6 ACSR to #2,4,6 ACSR or #2,4,6 CU | Blackburn | WR159 |  | 0
F-025 | 21 | Connector, Compression, #1/0,2 ACSR to #2,4,6 ACSR or #2,4,6 CU | Blackburn | WR189 |  | 0
F-028 | 81 | Connector, Compression, #4/0,3/0 ACSR to #2,4,6 ACSR or #2,4,6 CU | Blackburn | WR379 |  | 0
F-032 | 12 | Connector, Compression, #336,4/0 ACSR to #336,4/0 ACSR or #4/0 CU | Blackburn | WR775 |  | 0
F-033 | 12 | Connector, Compression, #477,336,4/0 ACSR to #2/0,1/0,2,4 ACSR or #2/0,1/0,2,4,6CU | Blackburn | WR815 |  | 0
F-044 | 9 | Connector, Compression, #266,4/0 Hdx-052AWA to #2 Hdx, #2,4,6 ACSR or #2,4,6 CU | Blackburn | WR379 |  | 0
F-047 | 24 | Connector, Compression, #477,336,266 Hdx to #3/0,2/0,1/0,2Hdx or #2/0,1/0,2,4,6CU | Blackburn | WR715 |  | 0
F-048 | 18 | Connector, Compression, #477,336,266 Hdx to #477,336,266 Hdx or #4/0 CU | Blackburn | WR775 |  | 0
F-049 | 23 | Connector, Compression, #556,477,336,266 Hdx to #3/0,2/0,1/0 Hdx or #2/0,1/0,2,4,6CU | Blackburn | WR815 |  | 0
F-056 | 13 | Connector, Compression, #0052AWA to #0052AWA, #052AWA to #052AWA, or #4/0 CU | Blackburn | WR419 |  | 0
F-059 | 100 | Connector, Compression, Crimp-It, #6 Sol, #4 Str CU to #6 Sol/Str CU | Burndy | YC4C6 |  | 0
F-061 | 3 | Connector, Compression, Crimp-It, #2 Sol, #2 Str CU to #8 Sol - #4 Str CU | Burndy | YC2C4 |  | 0
F-1172 | 1 | Splice, Compression, Service Entrance, #2 Conductor With Cover | Homac | RRK2 |  | 0
F-1173 | 2 | Splice, Compression, Service Entrance, #1/0 Conductor With Cover | Homac | RRK10 |  | 0
F-158 | 3 | Secondary Block, 6-Way, Molded EPDM Rubber, #12-#350MCM | Homac | RAB-6 |  | 0
F-1705 | 4 | Connector, Power Grip, #4/0 - #4 ACSR to #2/0 - #8 | Utilco | SCH-40-9/16P |  | 0
F-1706 | 9 | Connector, Power Grip, #397 - #1/0 ACSR to #2/0 - #8 | Utilco | SCH-3972 |  | 0
F-193 | 3 | Connector, Stem, UG Cable Termination, #2 AWG Str. & #1/0 AWG Sol | 3M | SC0001 |  | 0
F-784 | 6 | Connector, Compression, Terminal, AL, 336.4 ACSR to Flat Pad | Homac | SA350N |  | 0
F-803 | 3 | Terminator, 15kV QT-III Silicone Rubber, #2-#4/0 JCN/CN | 3M | 7652-S-4 |  | 0
H-793 | 1 | Fuse Link, Type K, 3 Amp | Kearney | 31003 |  | 0
H-795 | 1 | Fuse Link, Type K, 8 Amp | S&C | 265008 |  | 0
H-796 | 3 | Fuse Link, Type K, 10 Amp | S&C | 265010 |  | 0
H-798 | 2 | Fuse Link, Type K, 15 Amp | S&C | 265015 |  | 0
H-802 | 1 | Fuse Link, Type K, 40 Amp | S&C | 265040 |  | 0
H-804 | 1 | Fuse Link, Type K, 65 Amp | S&C | 265065 |  | 0
H-806 | 5 | Fuse Link, Type K, 100 Amp | S&C | 265100 |  | 0
I-514 | 7 | Anchor, Screw Type, 10" Helix for 3/4" or 1" Rod, 1-3/8" Square Hub | MacLean | D104 |  | 0
I-559 | 7 | Anchor Rod, w/ Eyenut, 3/4" x 7' Rod & Twineye Nut, 23,000 lbs | MacLean | D75D |  | 0
I-596 | 11 | Anchor, Multi-Helix, 8 & 10" Helix, 24" Spacing, 3' Long, 1-1/2" Square Shaft | MacLean | D6632 |  | 0
I-611 | 22 | Anchor, Extension, 1-1/2" Square x 5', Square Shaft | MacLean | D6620U |  | 0
I-640 | 11 | Anchor, Eyebolt Adapter, Tripleye | MacLean | D6606US |  | 0
[5 empty] | TOTAL: | 0