## AeroPark UG MVCable Accessories
TRAVERSE CITY LIGHT & POWER
BARLOW TO PARSONS
LARGE TRANSMISSION MATERIAL
ITEM |  | ITEM | MANUFACTURER | UTILITY | UNIT | EXTENDED
NO. | QUANTITY | DESCRIPTION | NAME | CATALOG # | PRICE | PRICE | NOTES
W-UPC-830 | 13200 | Wire, Underground, 69 kV, #1000 CU, Tape Shield | Okonite | 115-22-3777 |  | 0
C-END-408 | 18 | Dead-end, Double tongue, #795 ACSS | Hubbell | DEDA3309SSACNT |  | 0
H-ROD-1040 | 51 | Armor rod, #795, ACSS, Orange | Aluma Form | AR-0141 |  | 0
| 51 | Clamp, Suspension, Socket clevis, 1.38-1.82" | Hubbell | CFSHT182S |  | 0
I-INS-450 | 10 | Insulator, 69 kV, Y Clevis/Ball | Hubbell | S025023S2010 |  | 0
| 24 | Socket-Clevis | Hubbell | SC30 |  | 0
| 45 | Y-Clevis Ball | Hubbell | YBC30 |  | 0
C-TRM-1010 | 10 | Joint compound, HI temp | Hubbell | HTJC16 |  | 0
I-INS-400 | 20 | Insulator, Line post, 69 kV, 2.5" | Hubbell | P250031S0020 |  | 0
| 6 | Ball eye | Hubbell | BE30 |  | 0
| 1 | Pole, 50', Wood, Class 1 |  |  |  | 0
| 4 | Pole, 50', Wood, Class H1 |  |  |  | 0
| 2 | Pole, 55', Wood, Class H1 |  |  |  | 0
| 2 | Pole, 80', Wood, Class H1 |  |  |  | 0
| 1 | Pole, 85', Wood, Class H2 |  |  |  | 0
| 1 | Pole, 90', Wood, Class 1 |  |  |  | 0
| 1 | Pole, 90', Wood, Class H1 |  |  |  | 0
| 1 | Pole, 90', Wood, Class H2 |  |  |  | 0
| 2 | Pole, 90', Wood, Class H3 |  |  |  | 0
| 2 | Pole, 95', Wood, Class H1 |  |  |  | 0
| 4 | Pole, 95', Wood, Class H4 |  |  |  | 0
| 1 | Pole, 100', Wood, Class H5 |  |  |  | 0
W-GUY-100 | 3520 | Cable, Static fiber, 24 count | AFL | AC-37/37/552 |  | 0
| 6 | Dead-end, Fiber | AFL | ODEC550/559GXX |  | 0
| 4 | Enclosure, Fiber splice | AFL | SB01 |  | 0
| 4 | Bracket, OPGW coil | AFL | CB-44-3AL |  | 0
| 4 | Splice, Fiber, tray | AFL | ST1 |  | 0
| 4 | Seal, OPGW, Transmission, Splice Box | AFL | APCKD538/553 |  | 0
G-CLP-310 | 12 | Clamp, Ground, OPGW | AFL | OBCF2N12 |  | 0
H-CLP-510 | 15 | Clamp, Guide, OPGW, Wood Pole | AFL | 0GW469/561 |  | 0
W-OPA-360 | 16170 | Wire, Overhead, ACSS, #795 "Drake" | Southwire | DRAKE/ACSS |  | 0
[5 empty] | TOTAL: | 0
Notes:
Underground wire to be equally divided amongst six reels
Underground wire must be MV-105
Overhead wire to be equally divided amongst three reels
Wood poles to be Douglas Fir, Penta treated, alternate material bids will be accepted
Use commodity pricing of $4.28/lb for copper and $0.64/lb for aluminum