## Aero Park UG Conduit Unit List
TRAVERSE CITY LIGHT & POWER
AERO PARK UNDERGROUND
CONDUIT INSTALLATION, EQUIPMENT FOUNDATIONS & SITE RESTORATION
|  |  | UNIT LABOR & | EXTENDED
UNIT ITEM DESCRIPTION | UNIT | QUANTITY | MATERIAL | TOTAL
Trench, Backfill & Compact (1 to 2 Conduits) | LFT | 295 |  | 0
Trench, Backfill & Compact (3 to 4 Conduits) | LFT | 45 |  | 0
Directional Bore 1-6" HDPE1 | LFT | 9115 |  | 0
Directional Bore 2-6" HDPE1 | LFT | 1110 |  | 0
6" PVC SCH 40 | LFT | 330 |  | 0
6" 45° RGS STD (30") Radius (SF18) | EA | 22 |  | 0
6" 90° RGS STD (30") Radius (SF19) | EA | 4 |  | 0
6" 22° RGS, 60" Radius (SF20) | EA | 1 |  | 0
6" 45° RGS, 60" Radius (SF21) | EA | 40 |  | 0
6" 90° RGS, 60" Radius (SF22) | EA | 6 |  | 0
Concrete Encasement | LFT | 165 |  | 0
3Ø 15kV Sectionalizing Cabinet Box Pad2 | EA | 8 |  | 0
PSE 9/11 Switchgear Box Pad2 | EA | 11 |  | 0
Ground Rod, 3/4" x 10' w/ Coupling | EA | 136 |  | 0
#2/0 CU Stranded Bare | LFT | 1740 |  | 0
Exothermic Weld, One-shot | EA | 68 |  | 0
Exothermic Weld, Inc. Mold & Metal | EA | 16 |  | 0
Lawn Restoration | LS | 1 |  | 0
Traffic Control & Signage | LS | 1 |  | 0
Mobilization, Insurance & Bonding | LS | 1 |  | 0
|  |  | TOTAL CONTRACTOR BASE BID PRICE: | 0
1All material required to be supplied by Contractor.
2Pea stone to be supplied by Contractor.
BID ALTERNATE #1 - CIRCUIT PC20 CONDUIT INSTALLATION
|  |  | UNIT LABOR & | EXTENDED
UNIT ITEM DESCRIPTION | UNIT | QUANTITY | MATERIAL | TOTAL
Trench, Backfill & Compact (1 to 2 Conduits) | LFT | 100 |  | 0
Directional Bore 1-6" & 1-4" HDPE1 | LFT | 875 |  | 0
6" PVC SCH 40 | LFT | 100 |  | 0
6" 45° RGS STD (30") Radius (S18) | EA | 3 |  | 0
6" 90° RGS STD (30") Radius (S19) | EA | 1 |  | 0
6" 90° RGS, 60" Radius (S22) | EA | 2 |  | 0
Concrete Encasement | LFT | 15 |  | 0
PSE 9/11 Switchgear Box Pad2 | EA | 1 |  | 0
13"x24"x18" Handhole & Cover2 | EA | 1 |  | 0
Ground Rod, 3/4" x 10' w/ Coupling | EA | 4 |  | 0
#2/0 CU Stranded Bare | LFT | 120 |  | 0
Exothermic Weld, One-shot | EA | 4 |  | 0
Exothermic Weld, Inc. Mold & Metal | EA | 2 |  | 0
Substation Yard & Drive Site Restoration | LS | 1 |  | 0
|  |  | BID ALTERNATE #1 BID PRICE: | 0
|  |  | TOTAL CONTRACTOR BASE BID PRICE: | 0
|  |  | BID ALTERNATE #1 BID PRICE: | 0
|  |  | CONTRACTOR TOTAL BASE BID PRICE: | 0
|  |  | OWNER-FURNISHED MATERIAL: | 27000
|  |  | TOTAL PROJECT COST: | 27000
BID ALTERNATE #2 - FIBER SYSTEM CONDUIT INSTALLATION3
|  |  | UNIT LABOR & | EXTENDED
UNIT ITEM DESCRIPTION | UNIT | QUANTITY | MATERIAL | TOTAL
Directional Bore 1-6" & 1-4" HDPE1 | LFT | 8915 |  | 0
Directional Bore 2-6" & 1-4" HDPE1 | LFT | 1110 |  | 0
4" PVC SCH 40 | LFT | 120 |  | 0
4" 45° FG Std (16") Radius (SF11) | EA | 2 |  | 0
4" 90° FG Std (16") Radius (SF12) | EA | 2 |  | 0
4" 90° FG (60") Radius (SF15) | EA | 2 |  | 0
13"x24"x18" Handhole & Cover2 | EA | 29 |  | 0
|  |  | BID ALTERNATE #2 BID PRICE: | 0
3Owner will determine if units in Bid Alternate #3 will be constructed based on total project cost. The
directional boring unit quantities will not be in addition to those in the base contract, but will replace
the similar units.