## Material List
M72 Solar III Material
Attachment A
ITEM |  | ITEM | MANUFACTURER | UTILITY | UNIT | EXTENDED
NO. | QUANTITY | DESCRIPTION | NAME | CATALOG # | PRICE | PRICE | NOTES
W-OPA-320 | 43500 | Wire, Overhead, ACSR, #336 "Merlin" | Southwire | Merlin |  | 0
H-ARM-220 | 7 | Crossarm, Fiberglass, 8' | Geotek | DA2500096E2B7X2 |  | 0
H-ANC-120 | 4 | Anchor, PISA, 8", Double Helix | Hubbell | 12904 |  | 0
H-ANC-115 | 4 | Anchor, Rod, PISA, 1" x 7', Triple Eye | Hubbell | E1020053 |  | 0
C-END-402 | 10 | Dead-end, automatic, 10M | Hubbell | GDE702 |  | 0
H-GUY-705 | 7 | Guy strain, 16K, 18" | MacLean Power System | GCC15 18R |  | 0
C-END-468 | 42 | Dead-end, Strain clamp, #4-397 ACSR | Hubbell | GD963A |  | 0
I-INS-310 | 29 | Insulator, Dead-end, Polymer | Hubbell | 401015 0215 |  | 0
W-GUY-110 | 250 | Wire, Guy, 10M |  | 10MGUY |  | 0
H-CLP-515 | 46 | Clamp, Hot line, #1/0-397 to #8-2/0, AL/CU | ILSCO | SCH-3972P |  | 0
H-GUY-715 | 10 | Guy, Grip, 10M | Preformed | AWDE-4116 |  | 0
H-WAS-1280 | 32 | Washer, Square curved, 3", 11/16" hole | Hubbell | 6823.5 |  | 0
H-ROD-1020 | 159 | Armor rod, 336.4 ACSR, Blue | Preformed | AR-0129 |  | 0
I-INS-320 | 260 | Insulator, 15KV, Pole top | Hendrix | HPI-15VTP |  | 0
[5 empty] | TOTAL: | 0
Notes:
336 Reels to be as follows; (6) 5700', (3) 3100'
Either Armor Rod or pole top insulators will be awarded, not both