## 1. Instructions
1. Instructions
General Instructions
-Please complete each applicable sheet.
-Please provide a sheet for each term and battery hour length for 5 and 6.
-All sections/cells highlighted in yellow must be completed
-Data must be supplied in the units requested

## 2. Storage Parameters
2. Storage Parameters
YELLOW CELLS REQUIRE YOUR INPUTS
DARK GRAY NO INPUTS
Requirement | Requirement Answer | Supplemental Notes | Document Reference in Proposal Submission
General System Components | Not applicable | Please attach overall dimensions of each component and include a System one-line drawing. Information should include total weight, manufacturer specifications, technical data sheets and model numbers of the components.
Offer Details | Requirement Answer | Supplemental Notes | Document Reference in Proposal Submission
Project Name
Developer
Primary Contact:
Primary Contact Email:
Backup Contact (optional):
Backup Contact Email (optional):
Contract Type (Turnkey or PPA)
Commercial Operation Date
Nameplate Parameters | Requirement Answer | Supplemental Notes | Document Reference in Proposal Submission
Rated Power (MW)
Rated Duration (hours)
Storage System Capacity (MWh)
Technical Parameters | Requirement Answer | Supplemental Notes | Document Reference in Proposal Submission
Battery Modules
Battery Chemistry
Battery Cell Life Cycle
Enclosure Specifications
Maximum Charging Capacity (MW)
Maximum Discharging Capacity (MW)
Minimum Average State of Charge (enter ##%)
Maximum Average State of Charge (enter ##%)
Allowed number of Cycles per day
Allowed number of Cycles per year
Ramp Rate
Leakage Loss (%State of Charge loss/hour)
Electrical Ratings - Usable Energy (MWh)
Electrical Ratings - DC/AC Voltage
Electrical Ratings - All Other Electrical Ratings
Performance & Efficiency - Depth of Discharge
Performance & Efficiency - Availability - (Hours system is operational/Total required operational hours)
Performance & Efficiency - Power Factor
Performance & Efficiency - Expected System Life
Operable Values - Operable Altitude
Operable Values - Relative Humidity
Operable Values - Ambient Temperature Range
Response Time
Remote Operation Capability
Communication Software |  | Detailed technical documents relating to the communication interfact and protocol utilized by the BESS
Safety Features and Software - Technical Documents - Cooling/Heating System |  | Please include a Safety Features and Software - Technical Documents providing information on these items.
Safety Features and Software - Technical Documents - Fire Detection |  | Please include a Safety Features and Software - Technical Documents providing information on these items.
Safety Features and Software - Technical Documents - Fire Suppression |  | Please include a Safety Features and Software - Technical Documents providing information on these items.
Safety Features and Software - Technical Documents - Battery Management |  | Please include a Safety Features and Software - Technical Documents providing information on these items.
Safety Features and Software - Technical Documents - Energy Management |  | Please include a Safety Features and Software - Technical Documents providing information on these items.
Safety Features and Software - Technical Documents - All other Protection Devices |  | Please include a Safety Features and Software - Technical Documents providing information on these items.
Codes, Compliance and Certifications - Exceptions |  | Please attach
Fulfillment and Delivery |  | Provide delivery process and lead times.
Interconnection and Installation - Electrical and Physical Connection Points |  | Please include an Interconnection and Installation - Technical Documents providing information on these items.n
Interconnection and Installation - Installation Procedures |  | Please include an Interconnection and Installation - Technical Documents providing information on these items.n
Interconnection and Installation - Grounding and Mounting Provisions |  | Please include an Interconnection and Installation - Technical Documents providing information on these items.n
Inverter and Transformer - Electrical rating - Inverter
Inverter and Transformer - Electrical rating - Transformer
Inverter and Transformer - Electrical rating - Inverter - Dimension, Weight, Necessary Clearances, Codes and Compliance |  | Please include an Inverter and Transformer - Technical Documents providing information on these items.
Inverter and Transformer - Electrical rating - Transformer - Dimension, Weight, Necessary Clearances, Codes and Compliance |  | Please include an Inverter and Transformer - Technical Documents providing information on these items.
Warranty & Service - Warranty Terms and Exclusions - stated in years, months or operation hopurs |  | Please include a Warranty & Service - Technical Documents providing information on these items.
Warranty & Service - Servicing and Maintenance Procedures and Schedule |  | Please include a Warranty & Service - Technical Documents providing information on these items.
Optional Features/Add-ons |  | Please attach

## 3. Storage Systems
3. Storage Systems
YELLOW CELLS REQUIRE YOUR INPUTS
Category | Description of System or Document Reference in Proposal
Power Control System (PCS) Controller
Energy Management System
Disconnect Mechanism
Electrical Switching and Protection Mechanisms
Automatic Safety Mechanisms
Operation Modes
Communication

## 4. Project Risks
4. Project Risks
YELLOW CELLS REQUIRE YOUR INPUTS
Please provide a brief overview of project risks related to the following, but not all inclusive list - Project interconnection, site management, environmental zoning, studies and permitting, financing, proven technology, supply chain of labor, material and equipment.
Project Risks | Description of Risks or Document Reference in Proposal
Project Interconnection
Site Management
Environmental Zoning, Studies and Permitting
Financing
Proven Battery Technology
Supply Chain - Labor, Material and Equipment
Timeline
Other

## 5. Capital Costs
5. Capital Costs
YELLOW CELLS CAN BE USED TO INPUT DATA - THIS IS REQUIRED FOR OWNERSHIP OFFERS
PAGE CAN BE COPIED IF BIDDER PLANS TO BID ON 2 AND 4 HOUR BESS
Purchase Price - Project Buildout Capital Costs (as applicable) | Cost | Additional Info
Equipment breakdown
Battery modules cells
Inverters
Transformer
EMS/Controls
Fire Suppression/Safety System
Installation and EPC Costs
Site civil work
Electrical installation
Interconnection upgrades
Commissioning/testing
Soft costs
Engineering and design
Permitting
Project management
Interconnection costs
Utility upgrade costs
Optional
Extended warranty
Software licensing
Spare parts
Cybersecurity Subscription
Contingency
Lump Sum Fixed Price
Ongoing Capital Costs During Project Operation (as applicable)
Incremental capital needs ($)
Major maintenance, including augmentation ($)
Plant upgrades ($)
Are sales taxes assumed to be included in each line item?
Please describe in more detail the Major Maintenance regarding the timeframe of battery replacement due to degradation.
Capital Lease - Alternate Option
Payment terms (Annual or monthly)
Term (20 years)
Buyout option at the end of term
Interest rate
Ownership transfer terms
Tax credit treatment (developer meet owner requirements for IRS?)

## 6. Operating Costs
6. Operating Costs
YELLOW CELLS CAN BE USED TO INPUT DATA - THIS IS REQUIRED FOR OWNERSHIP OFFERS
All costs must be entered in nominal dollars
Fixed Operating Expenses (as applicable) | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | Additional Info
O&M General ($/kW-yr)
Insurance ($)
Property tax ($)
Asset management fee ($)
Environmental monitoring ($)
Outside services ($)
Other ($)
Spare parts ($/kW-yr)
Parasitic power (MWh/yr)
Permit requirements ($)
Variable Operating Expenses (as applicable) | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | Additional Info
O&M General ($/MWh)
Running Cost - Additional cost (over and above VOM) incurred for each hour that the unit is online ($/hr)
Chemicals ($/MWh)
Production payments to developer ($/MWh)
Are sales taxes assumed to be included in each line item?
Operational Parameters (as applicable) | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | Additional Info
Capacity degradation (%)
Round Trip Efficiency over project life cycle (%)
Training | Document Reference
Cost of TCLP to be trained on the operations and maintenance of the BESS system? If yes, please provide the training cost terms. (Please attach)

## 7. Proposed Project Schedule
7. Proposed Project Schedule
YELLOW CELLS REQUIRE YOUR INPUTS
Milestones | Estimated Date Ranges
Project kick off meeting
Estimated Interconnection and Permitting
Manufacturing and Delivery
Construction and Installation
Commission and Testing
Other Milestone -
Other Milestone -
Other Milestone -
Other Milestone -

## 8. Company Financials
8. Company Financials
YELLOW CELLS REQUIRE YOUR INPUTS
General Information
Parent Company Name |  | Provide the name of the parent company. If this is not applicable, enter "Not Applicable"
Location
Ticker or Tax ID |  | Provide the company Ticker or Tax ID. If this is not applicable, enter "Not Applicable"
Year Established |  | Indicate the year the company was established
Credit Rating Available? | Choose One | Indicate if the company has a credit rating from either Moody's, S&P, or Fitch
Rating Agency
Moody's | Choose One | Select the assigned credit score, as applicable.
S&P | Choose One | Select the assigned credit score, as applicable.
Fitch | Choose One | Select the assigned credit score, as applicable.
**Please provide the following
3 Years of Audited Financial Statements |  | Please provide document reference
Credit Rating Agency Report |  | Please provide document reference
Contract defaults or litigations over the past 5 years |  | Please provide document reference

## 9. Required Additional Info
9. Required Additional Information
YELLOW CELLS REQUIRE YOUR INPUTS
Category | Description | Document Reference
Standards Tests Report | Testing procedure outline and timeline. Statement it will meet all requirements provided in the RFP.
Training Procedures | Please attach copy of training materials that will be covered.
Bidder's Qualifications | Documentation showcasing a minimum of three prior BESS installations for other governmental organizations with size battery energy storage systems ranging from 500kW to 2.0 MW.
Bidder's Qualifications | List all key personnel assigned by project level, name and location.
Bidder's Qualifications | Provide a resume or similar statement describing background, qualifications and experience of lead peson and all persons assigned to the project.
Bidder's Qualifications | Spreadsheet of labor hours proposed
Bidder's Qualifications | Licenses held by the Bidder
Bidder's Qualifications | Please list any conflicts of interest
Bidder's Qualifications | Bidder certifies that within three years of the bid have not been convited of criminal offense, including embezzlement, theft, forgery, bribery, falsifications or destruction of recors, receiving stolen property or another roffense which currently, seriously and directly reflects on the business integrity. Any conviction under state or federal antitrust statutes, attempting to influence a public employee to breach ethical conduct standards or loss of license or the right to do business or practice profession.
Subcontractors | List of subcontractors participating on this project
Insurance Certificates | Please provide whether you will be able to meet the insurance requirements in Section 5G of the proposal.
Strategic Fit | What is the estimated local employment impacts from the proposed resource?
Economic | Please provide the eligble tax credits and applicable percentage that will be met if the City of Traverse City owns the BESS Storage.
Economic | Standard Compliance Tax Credit (Yes or No) and applicable percentage
Economic | Prevailing Wage and Apprenticeship (Yes or No) and applicable percentage
Economic | Energy Community (Yes or No) and applicable percentage
Economic | Domestic Content (Yes or No) and applicable percentage
Economic | Other available tax credits? Please describe
Community | Would you be willing to engage and communicate with the community with TCLP and the City of Traverse City? If yes, please attach guidelines to the extent of the engagement and communication.
Operations | Please describe any environmental impacts.
Operations | Please describe any health impacts.
Deviations or Offer Variants (please provide any deviation or offer variants)
Other (please provide any other essentional data that may assist in the evaluation of the proposal including any significant contract terms.)

## 10. Iran Sanctions
10. Iran Economic Sanctions Act, Other, and Deviation
YELLOW CELLS REQUIRE YOUR INPUTS
Document Reference
Iran Economic Sanctions Act